Lucky Light Solar Lamp Series Technical Data Sheet

Model No: L-LLS-L203H

Features:

- Super bright LED.

- Low Power Consumption.

- Long life.

- Low voltage operation at 1.2V DC.

- Nature or available for all color.

Description:

Solarpanels:monocrystalline or polycrystalline silicon(0.276±0.05W), illuminant: superbright LED, brightness: 2white LEDS,working hours:8hrs Material: ABS and Stainless Steel lamp, 1x1.2V AA 800 mAh Ni-MH rechargeable  batteries

Application:

At a good site, the sunshine should keep at least 8 hours per day. Insufficient sunshine will affect the battery charging, then affect the lighting time of the lamp at night. So pls donot set the solar LED lamp at a place with very short sunshine time. The places like lawn, parks and some other places with long sunshine time are ideal for the solar LED lamp. At 8 hours’ sunlight shining, pls turn the switch of the solar LED lamp to be “ OFF”, which can make the power of the battery being charged to be max.

| Items项目 | Model | Rating额定值 | Material材料 |
| --- | --- | --- | --- |
| Storage battewry (蓄电池) | AA | 1.2V,800mAh | Ni-MH镍氢 循环次数：1000次 |
| Solar Lamp (太阳能灯) | LED | Superbright | 寿命：50000小时 |
| 太阳能电池 monocrystalline or polycrystalline sillicon |  | 0.276±0.05W | monocrystalline or polycrystalline sillicon(寿命：20年) |
| L-LLS-S201 寿命：超过5年 |  |  |  |

Notes:

Product picture: 产品图片

Product Dimensions: 产品尺寸(cm):13.1X112.5